## Slide 1: Completion of a Truncated Attenuation Image from the Attenuated PET Emission Data Johan Nuyts, Christian Michel, Matthias Fenchel, Girish Bal, Charles Watson

## Slide 2: PET-MR: attenuation correction
PET
CT
MR
Attenuation correction problems in PET-MR:
1. MR-value
PET attenuation coefficient
2. in case of truncation:
(large patients, arms in FOV)
restore missing part in MR image

## Slide 3: consistency, likelihood
attenuated projection
FBP
NEG-ML
FBP
NEG-ML
NO ATTEN CORR
ATTEN CORR
likelihood
iteration
NO ATTEN CORR
ATTEN CORR

## Slide 4: consistency, likelihood
consistency
  analytical consistency conditions
    Natterer, Inverse Problems 1993
    Welch et al, IEEE TMI 1997
  discrete consistency conditions
    Bronnikov, Inverse Problems 1999, IEEE TMI 2000
    Kudo et al, IEEE NSS-MIC 2000
simultaneous iterative reconstruction
  POCS, least squares
    Censor et al, IEEE TNS 1979
    Panin et al, IEEE TNS 2001
  maximum likelihood
    Krol et al, IEEE TMI 2001, SNM 1995
    Nuyts et al, IEEE TMI 1999
    Laymon et al, IEEE NSS-MIC 2004
    De Pierro et al, IEEE TNS 2007
    Salomon et al, SNM 2009
MLAA
= ML recon of
Attenuation
Activity

## Slide 5: MLAA algorithm
threshold
backproject
threshold
insert
attenuation
given
given
given
MLTR
“blank”
MLEM

## Slide 6: MLAA: priors
emission update
  smoothing Markov prior: relative difference prior
attenuation update
  smoothing Markov prior: relative difference prior
  intensity prior, favoring
    air
    tissue

## Slide 7: RESULTS: patient PET/CT images
CT-map
truncated
MLAA-attenuation
MLAA-activity
MIP

## Slide 8: RESULTS: patient PET/CT images
CT-map
truncated
MLAA
ref “clinical” OSEM
diff with ref OSEM
SUV
error in %
mean,
10 and 90 percentile
truncated
MLAA

## Slide 9: RESULTS: segmented CT
ref “clinical” OSEM
diff with ref OSEM
SUV
error in %
CT-map
truncated
MLAA

## Slide 10: RESULTS: scatter correction
CT-map
truncated
MLAA with
scatter correction
MLAA without
scatter correction

## Slide 11: NCAT phantom with cold objects
attenuation map
radio-activity
truncation
3 bars: F 10mm: (0.2, 0.15, 0.095) /cm
3 bars: F 6 mm: (0.095, 0.08, 0.06) /cm

## Slide 12: NCAT phantom with cold objects
simulated noisy PET projections
Siemens TruePoint PET system
7 “segments” (= sinogram sets with different obliqueness)
maximum count/pixel = 15

## Slide 13: NCAT phantom with cold objects
TRUE
TRUNCATED
INITIAL
MLAA
attenuation maps

## Slide 14: NCAT phantom with cold objects
“clinical” OSEM, noisy case
OSEM with
true attenuation
OSEM with
truncated attenuation
OSEM with
MLAA attenuation
slices
MIP

## Slide 15: Conclusion
MLAA – based completion of the attenuation map
works well for 18F-FDG whole body PET
  residual error < 10% in 5 patient studies
not sensitive to small segmentation errors
not very sensitive to scatter correction
can detect small cold attenuating objects
requires
constraining of attenuation (and emission) update
good initialization (sinogram thresholding)